# University of Lethbridge Laboratory Safety Inspection Checklist

| ### Lab Supervisor: _____________________________ | Date: ________________________________________ Inspected By: _________________________________ |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ### Location: __________________________________ |  |  |  |  |  |
| A. Documentation, Hazard Communication, and Security | Yes | No | N/A | Comments |  |
| - Are emergency contacts and procedures posted outside the lab entrance and near the lab phone? |  |  |  |  |  |
| - Is a copy of the Laboratory Chemical Safety Manual accessible? |  |  |  |  |  |
| - Is the Chemical Inventory available and up to date? |  |  |  |  |  |
| - Are MSDS accessible and current for all controlled products? |  |  |  |  |  |
| a. Have lab personnel (students and staff) received WHMIS training within the past 3 years (this must include both generic and site-specific training)? |  |  |  |  |  |
| b. Do the lab personnel receive Refresher WHMIS training? How often? |  |  |  |  |  |
| - Do lab personnel receive training in Lab/Chemical Safety, Cryogen Safety, Radiation Safety and Biosafety, as required? |  |  |  |  |  |
| - Is this training documented and are training records retained? |  |  |  |  |  |
| - Is there a lab specific Working Alone protocol in addition to the UofL Working Alone Procedure? |  |  |  |  |  |
| - Are lab personnel aware of the on-line incident/accident reporting procedures? |  |  |  |  |  |
| - Are hazard assessments completed, updated and reviewed regularly? |  |  |  |  |  |
| - Is there an emergency response procedure specific to the laboratory? |  |  |  |  |  |
| A. Documentation, Hazard Communication, and Security (cont’d) | Yes | No | N/A | Comments |  |
| - Do lab personnel receive an orientation about: - Lab-specific hazards/risks? |  |  |  |  |  |
| - Chemical release (spill) procedures? |  |  |  |  |  |
| - Equipment hazards and operational safety? |  |  |  |  |  |
| - Use and location of personal protective equipment (PPE) (e.g. lab coats, different types of gloves, face shield, splash goggles/safety glasses, respirators), first aid kit, spill kit, safety shower, and eyewash? |  |  |  |  |  |
| - Location of safety related information and materials kept in the lab? |  |  |  |  |  |
| - Is the lab locked and secured when unattended? |  |  |  |  |  |

| B. Housekeeping/Hygiene | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| - Are benches and sinks clean and tidy? Spills cleaned up as soon as possible? |  |  |  |  |
| - Are exit doors unobstructed? |  |  |  |  |
| - Are aisles unobstructed? |  |  |  |  |
| - Is storage of combustible material (i.e. empty packaging, boxes) kept to a minimum? |  |  |  |  |
| - Are items not stored within 18 inches below the level of sprinkler heads? |  |  |  |  |
| - Is care taken to ensure that potential tripping hazards are removed (e.g. electrical cords, hoses, equipment)? |  |  |  |  |
| - Are food and drink not allowed in lab? |  |  |  |  |
| - Are adequate hand washing facilities, soap and paper towels provided? |  |  |  |  |

| C. Emergency and Safety Equipment | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| - Is an appropriate fire extinguisher(s) available and accessible? |  |  |  |  |
| - Is a First Aid Kit available and fully stocked? |  |  |  |  |
| - Is an emergency eyewash available and accessible? |  |  |  |  |
| - Is an emergency shower available and accessible? |  |  |  |  |
| - Is the maintenance log for testing eyewash and safety shower available and up-to-date? |  |  |  |  |
| - Is an appropriate Spill Kit available and fully stocked? |  |  |  |  |
| - Are safety carriers, carts, secondary containment available for safe transport of chemicals? |  |  |  |  |
| - Does instrumentation require an exhaust hood or any other specific engineering or PPE controls in order to use it safely? |  |  |  |  |
| - Is secondary containment used for instrumentation waste containers (e.g. HPLC waste)? |  |  |  |  |

| D. Personal Protective Equipment (PPE) | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| - Are safety glasses/goggles available and in use? |  |  |  |  |
| - Are lab coats worn and appropriate for the type of materials handled? |  |  |  |  |
| - Are protective gloves worn and appropriate for the type of materials handled and the type of work? |  |  |  |  |
| - Are face shields, protective aprons or other PPE available and worn, if required? |  |  |  |  |
| - Do lab personnel wear appropriate personal apparel? No shorts or open-toed/heeled shoes. |  |  |  |  |
| - Are respirators worn when required? |  |  |  |  |
| - Have personnel been fit-tested and trained for the use of respirators? |  |  |  |  |

| E. Chemical Storage and Labelling | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| - Are chemicals stored according to compatibility classification? (e.g. oxidizers stored only with other oxidizers; acids not stored with bases) |  |  |  |  |
| - Are storage locations of segregated chemicals identified? |  |  |  |  |
| - Do chemical containers have WHMIS compliant labels? |  |  |  |  |
| - Are chemicals stored below eye level? |  |  |  |  |
| - Are glass vessels containing toxic, flammable, combustible, or corrosive chemicals that pose an inhalation hazard, stored in vented cabinets below eye level? |  |  |  |  |
| - Are chemicals dated upon receipt? |  |  |  |  |
| - Are peroxide forming chemicals labelled with date container was opened? |  |  |  |  |
| - Is the quantity of flammable liquids stored in a flammable storage cabinet kept below the maximum allowed? 250L of Flammable or Class I Liquids; up to 500L of Combustible or Class II / III; for a combined total of no more than 500L. |  |  |  |  |
| - Is the volume of flammable liquids in open storage < 10L? (see Explanation Guide) |  |  |  |  |
| - Are flammables requiring low temperature storage kept only in intrinsically safe explosion proof or flammable storage refrigerators/freezers? |  |  |  |  |
| - Are flammable liquids not stored within 1.5m of the lab exits? |  |  |  |  |
| - Are all narcotics and ethanol (absolute and 95%) secured in a locked cabinet and usage recorded in an inventory? |  |  |  |  |
| * Highly toxic is defined as substances that have a median lethal dose (LD50) of less than or equal to 50 mg/kg body weight by the oral route of entry; 40 mg/kg body weight by the dermal route of entry,; or a median lethal concentration (LC50) less than or equal to 500 mg/m3 or 0.5 mg/l. It is strongly recommended that all “Highly Toxic” materials be kept in a locked cabinet. |  |  |  |  |

| F. Waste Management and Disposal | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| - Are laboratory wastes legibly labelled with the following information? - Waste Identity (Chemical name of the material, no abbreviations, no formulas), - Concentrations, - Room number/Location, - User/Generator Name and - Precautionary Phrases |  |  |  |  |
| - Are laboratory wastes (chemical, biological and radioactive) properly segregated according to compatibility and stored in appropriate containers? |  |  |  |  |
| - Is no more than one month’s accumulation of wastes stored in the lab? |  |  |  |  |
| - Are glass disposal boxes and sharps disposal containers available in the lab? |  |  |  |  |

| G. Compressed Gas Cylinders | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| - Are gas cylinders upright and secured with non-combustible restraint (i.e. chain)? |  |  |  |  |
| - Are gas cylinders not stored within 1m from exits in the lab? |  |  |  |  |
| - Are empty cylinders clearly identified and stored separately from full cylinders? |  |  |  |  |
| - Do cylinders not in use have caps in place? |  |  |  |  |
| - Are a minimum number of gas cylinders stored in the lab? |  |  |  |  |
| - Are gas cylinders not in use segregated by chemical classification? |  |  |  |  |
| - Are appropriate types of gas regulators used? |  |  |  |  |
| - Is an appropriate handcart available for transporting cylinders? |  |  |  |  |
| ### H. Fume Hoods | Yes | No | N/A | Comments |
| - Is the fume hood flow monitor functioning correctly (green light/indicator visible when sash is at 30-45cm)? Proper face velocity is between 100-120 fpm at 30-45cm sash height. |  |  |  |  |
| - Does the calibration label affixed to the fume hood monitor indicate that the fume hood has been tested within the past 12 months? |  |  |  |  |
| - Is the fume hood clean and uncluttered? Fume hoods must not be used for long-term storage |  |  |  |  |
| - Is the fume hood sash closed when not in use? |  |  |  |  |
| - Is the fume hood sash kept between 30 – 45cm when in use? |  |  |  |  |
| - Are the air baffles at back of hood kept clear of obstructions (apparatus not closer than 3cm to the back of hood)? |  |  |  |  |
| - Is apparatus placed at least 15cm from front of hood? |  |  |  |  |
| - Perchloric acid hood: - Is the maintenance log up-to-date (wash down recorded after each use)? |  |  |  |  |
| - Are containers of perchloric acid kept closed and stored separately from other chemicals? |  |  |  |  |
| - Are localized hoods/arms present and operational? |  |  |  |  |
| - Are vented chemical storage cabinets available and functioning properly? |  |  |  |  |

| I. Other | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| - Purge system: - Do personnel know location of purge switch and procedure for use? - Are switch locations are clearly marked? |  |  |  |  |
| - Is the electrical panel accessible? |  |  |  |  |
| - Are breakers clearly identified? |  |  |  |  |
| - Are extension cords and power bars ULC/CSA approved and in good condition (no frayed cords, exposed wires or visible damage) and used only on a temporary basis? |  |  |  |  |
| - Is care taken to ensure that the extension cord rating is not exceeded (i.e. the total amperage of items plugged in does not exceed the amperage rating of the extension cord). |  |  |  |  |

| J. RADIATION SAFETY – RADIOISOTOPE LABS | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| - Have personnel received generic and site specific training in the use of radioisotopes? |  |  |  |  |
| - Has this training been documented and are training records retained? |  |  |  |  |
| - Are radioactive chemicals manipulated on absorbent plastic backed material? |  |  |  |  |
| - Are lab coats, safety glasses and disposable gloves worn when working with radioactive chemicals? |  |  |  |  |
| - Is a radioactive materials spill kit available and accessible? |  |  |  |  |
| - Are all radioactive materials kept secure (i.e. lab is locked when unattended)? |  |  |  |  |
| - Are radioactive material inventory and contamination monitoring records maintained in the Radiation Safety Records binder? |  |  |  |  |
| - Is the lab monitored for radioactive contamination within seven days of each use of radioisotopes and is this recorded in the Radiation Safety Records binder? |  |  |  |  |
| - Are dosimeters worn (if required)? |  |  |  |  |
| - Are radioactive waste properly labelled, stored and disposed in accordance with U of L Radiation Safety Program requirements? |  |  |  |  |
| - Are containers of radioactive waste labelled with all the required information (radioisotope, quantity of activity, date, trefoil symbol)? |  |  |  |  |
| - Is a separate waste disposal form kept for each waste container? |  |  |  |  |
| - Are all permits, posters and warning labels required by the U of L Radiation Safety Program posted and in good condition? |  |  |  |  |

| K. RADIATION SAFETY – X-RAY | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| - What type of X-ray instrumentation is present? □ Diffraction □ Irradiation □ Other __________________________________ |  |  |  |  |
| - Is appropriate door signage in place? |  |  |  |  |
| - Is the lab locked and secured when unattended? |  |  |  |  |
| - Are dosimeters worn (if required)? |  |  |  |  |
| - Are inspection and registration certificates available and posted? |  |  |  |  |
| - Is appropriate PPE worn? |  |  |  |  |
| - Have personnel received generic and site-specific X-ray safety training? |  |  |  |  |
| - Has this training been documented and are training records retained? |  |  |  |  |

| L. RADIATION SAFETY – LASER | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| - What classification of laser instrumentation is present? □ Class 1 □ Class 2 □ Class 3R □ Class 3B □ Class 4 |  |  |  |  |
| - Is appropriate door signage in place? |  |  |  |  |
| - Is the lab locked and secured when unattended? |  |  |  |  |
| - Is appropriate PPE worn? Note that this includes specialty LASER protective eyewear. |  |  |  |  |
| - Are inspection and registration certificates available and posted? |  |  |  |  |
| - Have personnel received generic and site-specific laser safety training? |  |  |  |  |
| - Has this training been documented and are training records retained? |  |  |  |  |
| - Have standard operating procedures (SOPs) for Class 3B and 4 lasers been developed and reviewed by the Radiation Safety Committee? |  |  |  |  |

| M. BIOSAFETY | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| - Are Biological Materials – bacteria, virus, fungi, parasites, human/animal blood, and/or toxins used? |  |  |  |  |
| - What is the Containment Level (CL) of the lab? □ CL 1 □ CL 2 |  |  |  |  |
| - Are all places where biohazards are present labelled to indicate this? |  |  |  |  |
| - Have personnel received generic and site-specific biosafety training? |  |  |  |  |
| - Has this training been documented and are training records retained? |  |  |  |  |
| - Are Standard Operating Protocols (SOPs) and Biosafety Manual available? |  |  |  |  |
| - Are appropriate disinfectants available? |  |  |  |  |
| - Is an autoclave available? |  |  |  |  |
| - Is the autoclave properly located and vented through local exhaust hoods? |  |  |  |  |
| - Are autoclaving procedures validated and a log maintained? |  |  |  |  |
| - Are MSDS for infectious agents available? |  |  |  |  |
| - Are freezers/coolers containing biohazardous materials regularly monitored? |  |  |  |  |
| - Are Biological Safety Cabinets (BSC) available? |  |  |  |  |
| - Does the BSC inspection label indicate that it has been inspected and recertified within the last 12 months? |  |  |  |  |
| - Is the BSC located in an appropriate area? |  |  |  |  |
| - Are equipment decontamination protocols/ procedures available? |  |  |  |  |
| - Are separate coat hooks available for lab coats? |  |  |  |  |
| - Are only safety engineered medical sharps used? |  |  |  |  |
| - Are sharps disposal containers available in the lab? |  |  |  |  |